## Slide 1: A robotic test of proprioception within the hemiparetic arm post-stroke
Simo et al.
Duncan Tulimieri 7.30.20

## Slide 2: Background

## Slide 3: Methods
Experimental procedure

## Slide 4: Methods
Training task
  Attempt to discern between a constant tone w/in noise and elevating tone w/in noise (auditory discrimination)
    Used to assess if participants can complete a two-choice forced-response task
  If percent correct < 80%, deemed they weren’t able to complete a 2FR task
Prediction: Most subjects will be able to complete with >=80% correct
  If not, there are other deficits that could contribute to why they didn’t hit >= 80% (auditory issues)
Why
  Simple task

## Slide 5: Methods
Primary experiment arm movement detection
  2AFC task; auditory noise + present/absent arm perturbation
Prediction
  Psychometric function slopes : SS-P < SS+P < NIC
Why?
  The less proprioceptive function a person has, the more perturbation needed in order to be detected

## Slide 6: Methods
Supplemental experiment hand force detection
  2AFC; detect sum of sinusoids force perturbation
Prediction
  Psychometric function slopes : SS-P < SS+P < NIC
Why?
  The less proprioceptive function a person has, the more perturbation needed in order to be detected

## Slide 7: Methods
Data analysis

## Slide 8: Methods
Statistical hypothesis testing

## Slide 9: Results
Primary experiment: arm movement detection

## Slide 10: Results
Primary experiment: arm movement detection

## Slide 11: Results
Supplemental experiment: hand force detection

## Slide 12: Discussion
Comparison to the “up or down” test of upper extremity proprioception

## Slide 13: Discussion
Comparison to other instrumental tests of upper extremity proprioception

## Slide 14: Limitations

## Slide 15: Conclusions